**Guidelines for Topten Public Procurers**

|  |  |
| --- | --- |
| Taps and Shower HeadsSteffen Hepp, August 2021 | Beschreibung: http://www.topten.eu/uploads/icons/detail/products/houshold/dishwasher/sn26.jpg |

# Why follow Topten criteria?

* Topten.eu/pro ([www.topten.eu/pro](http://www.topten.eu/pro)) is a European web portal helping buyers, professionals, public procurers and large buyers to find the most energy efficient products available in Europe. The products are selected and updated continuously, according to their high energy and environmental performances, independently from the manufacturers.
* The Topten criteria below can be inserted directly into tendering documents.
* All taps and shower heads displayed on [www.topten.eu](http://www.topten.eu) meet the criteria contained in these guidelines. Procurers can therefore use the website to check the availability and assortment of products currently on the market, which meet the [Topten selection criteria for Taps & Shower Heads](https://www.topten.eu/private/selection-criteria/taps-and-showers).
* Topten.eu/pro links to national partners Topten Pro websites and was developed under the Topten Act project, supported by the European Union through Horizon 2020 programme.

# How much can you save?

This category, listed on [www.topten.eu](http://www.topten.eu), includes most energy-efficient taps, flow regulators and shower heads of Europe.

Considering the following assumptions, it is possible to achieve the savings indicated in the next table.

|  |  |
| --- | --- |
|  Assumptions | * 4-person family home
 |
| * Water cost: 0.0025 €/litre
 |
| * Electricity cost: 0.20 €/kWh
 |

|  |  |  |  |
| --- | --- | --- | --- |
|  |  | **Inefficient model** | **Topten model** |
| Flow rate shower | l/min | 9 | 6 |
| Flow rate wash basin | l/min | 7 | 5 |
| Flow rate kitchen sink | l/min | 5 | 5 |
|  |  |  |  |
| Consumption shower | l/year | 52,560 | 35,040 |
| Consumption wash basin | l/year | 15,273 | 10,909 |
| Consumption kitchen sink | l/year | 20,000 | 20,000 |
| **Total Consumption** | **l/year** | **87,833** | **65,949** |
|  |  |  |  |
| **Savings** |  |
| **⇨** Water savings | l / year | 21,884 litre (**25% less water**) |
| **⇨** Energy savings | kWh / year | 875 kWh (**25% less energy**)  |
| **⇨ Cost savings** | **EUR / year** | **230 EUR** |

A combination of water saving taps and flow regulators across kitchen and bathroom has the potential to save more than 25% of energy and water in use.

A four-person family can save 230 EUR within one year. The biggest cost is the energy needed to heat up the water. In fact, a usual household consumes more energy for the production of hot water than all other electrical devices and light in the household combined.

# Procurement criteria

The following criteria can be inserted directly into tendering documents. The Topten selection criteria and the product lists are updated regularly. The newest versions are always available at [**www.topten.eu/pro**](https://www.topten.eu/private/page/pro)**.**

**Subject: Highly water/energy-efficient taps and shower heads**

Technical Specifications

**Efficiency class**

Taps and shower heads must have at least the class A (dark green arrow) according to the Unified Water Label (also referred to as ‘European Water Label’)

 ***Verification***

Bidders must supply the efficiency label and show product is listed on the official product database of the Unified Water Label.

Further Information

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|

|  |
| --- |
| Unified Water Label |
| Class | Max flow rate1 |
| 1st class | ≤ 6 |
| 2nd class | ≤ 8 |
| 3rd class | ≤ 10 |
| 4th class | ≤ 13 |
| 5th class | > 13 |
| The lower the flow rate, the better the efficiency |

1 Flow rate = litres / minute |  |

The water label features the **flow rate**,corresponding **class** (colour coded) as well as **the annual energy consumption** for that product, based on average usage patterns and the energy needed to heat up that amount of water.

Further Information

To increase savings and reduce environmental impact, procurers should evaluate life cycle costs when tendering for taps and shower heads. Thus, it is advisable to include in the tender a costing exercise - even if simple - for the product life cycle costs.

Table 1: Example of a breakdown costs table, to be filled in by bidders

|  |  |  |  |
| --- | --- | --- | --- |
|  | **Information details** | **Different unit costs in € (excluding tax)** | **Total cost in € (excluding tax)** |
| **Delivery** |  |  |  |
| **Installation** |  |  |  |
| **Use\*** | [Water consumption per year (l/yr.) + Energy consumption for hot water production in kWh/year] x product life time x nº units | Electricity cost\*\*: 0,20 €/kWhWater cost\*\*: 0,0025 €/litre |  |
| **Maintenance** |  |  |  |
| **Recycling and disposal** |  |  |  |

\* Example of how use costs can be determined.

\*\* This figure is just an example. The procurer can use the average electricity/water price paid during the last 2 or 3 years, and also include subscription fee and taxes.

# Advice and support

If you would like further assistance in using the information presented here in your own procurement actions or more information on [Topten Pro](http://www.topten.eu/pro) contact your national Topten team (find it on Topten.eu).

The European Commission’s [Green Public Procurement](http://ec.europa.eu/environment/gpp/index_en.htm) website contains valuable legal and practical guidance together with procurement criteria for a range of commonly procured products and services.

|  |  |
| --- | --- |
| WWF | The elaboration of these procurement guidelines has been supported by WWF Switzerland. The sole responsibility for the content of the Topten procurement guidelines lies with the authors.  |

|  |  |
| --- | --- |
| Ein Bild, das ClipArt enthält.  Automatisch generierte Beschreibung | This HACKS project (Heating and Cooling Knowhow and Solutions) has received funding from the [European Union's Horizon 2020 research and innovation programme](https://ec.europa.eu/programmes/horizon2020) under grant agreement nº845231. The sole responsibility for the content of the Topten Pro procurement guidelines lies with the authors. It does not necessarily reflect the opinion of the European Union. Neither EASME, nor European Commission and project partners are responsible for any use that may be made of the information contained therein. |